## Sheet1
Network addresses for computers flying on NOAA P-3 during SENEX
Gateway = 10.10.16.1
Netmask = 255.255.255.0
DNS = 8.8.8.8, 8.8.4.4
Time Server = 10.10.16.55
Instrument Computer | Station | PI | IP Address | Notes
Fli Sci Laptop | C3X | Aikin | 10.10.16.30 | DaqFactory data sharing, X-Chat, python script data download
NOyO3 | C3X | Ryerson | 10.10.16.31 | DaqFactory data sharing and X-Chat
CRD_AES | 2 | Wagner | 10.10.16.32 | Labview
PSAP | 2 | Lack | 10.10.16.33 | Labview
PAS | 2 | Lack | 10.10.16.34 | Labview
AMS | 3 | Middlebrook | 10.10.16.35 | sending UDP
SP2 | 3 | Schwarz | 10.10.16.36 | Labview, sending UDP
SP2 Laptop | 3 | Schwarz | 10.10.16.37 | Connecting to instrument
SO2 | 5 | Holloway | 10.10.16.38 | DaqFactory data sharing
CO2/CH4 | 5 | Peischl | 10.10.16.39 | Remote Desktop
CO2/CH4 Laptop | 5 | Peischl | 10.10.16.40 | DaqFactory data sharing. Connect to this one to get data into DF
CIMS | 7 | Nowak/Neuman | 10.10.16.41 | DaqFactory data sharing
CARDS | Dual Pass | Edwards | 10.10.16.42 | Labview
NMASS | AMPS Pod | Brock | 10.10.16.43 | DaqFactory data sharing
iWAS2 | AMPS pod | Gilman/Lerner | 10.10.16.44 | Remote Desktop
CO | CO Pod | Holloway | 10.10.16.45 | DaqFactory data sharing
AOC Computer | Galley | Aikin | 10.10.16.46 | DaqFactory data sharing to display graphs
iWAS Laptop | AMPS pod | Gilman/Lerner | 10.10.16.47 | Used for Remote Desktop pre- and post-flight
CO Laptop | 5 (preflight) | Holloway | 10.10.16.48 | Remote Desktop
WLOPC | FD | Brock | dynamic | Labview
CCN | 2 forward | Nenes | dynamic | ?
UHSAS | 2 | Brock | dynamic | Labview
PAN CIMS | 4 | Roberts | dynamic | DaqFactory, but no data sharing
acid CIMS | 6a | Thornton | dynamic | ?
ACES | 6b | Min/Dube | dynamic | may read UDP data, but not sending any data
PTRMS | 8 | Graus/Warneke | dynamic | Proprietary software
HCHO | 8 | Hanisco | dynamic | ?