## Sheet1
Network addresses for computers flying on NOAA P-3 during SONGNEX
Gateway = 10.10.16.1
Netmask = 255.255.255.0 | Updated: | 2015-02-19
DNS = 10.10.16.56
Time Server = 10.10.16.55
AOC Dataserver: 10.10.16.10 | Use this to send UDP data to AOC. NOxCARD = port 9172, iWAS = port 9173, ACES = port 9174, ISAF = port 9175
Instrument Computer | Station | PI | IP Address | Notes
Fli Sci Laptop | 2 | Aikin | 10.10.16.200 | DaqFactory data sharing, X-Chat, python script data download
CSD Computer | 2 | Aikin/Warneke | 10.10.16.201 | DaqFactory data sharing to display graphs and X-Chat
NOyO3 | C3X | Ryerson | 10.10.16.202 | DaqFactory data sharing and X-Chat
CO2/CH4 Laptop | 5 | Peischl | 10.10.16.204 | DaqFactory data sharing. Connect to this one to get data into DF. 2 networks for connecting to CO2/CH4 and ethane.
SO2 | 6 | Holloway | 10.10.16.207 | DaqFactory data sharing
HNO3 CIMS | 7 | Eilerman/Neuman | 10.10.16.208 | DaqFactory data sharing
NOxCARD | Dual Pass | Wild/Dube | 10.10.16.209 | Labview. Sending data to IWG1
NMASS | AMPS Pod | Brock | 10.10.16.210 | DaqFactory data sharing
iWAS2 | AMPS Pod | Gilman/Lerner | 10.10.16.211 | Remote Desktop
iWAS Laptop | AMPS pod | Gilman/Lerner | 10.10.16.212 | Used for Remote Desktop pre- and post-flight
CO | CO Pod | Holloway | 10.10.16.213 | DaqFactory data sharing
CO Laptop | 5 (preflight) | Holloway | 10.10.16.214 | Remote Desktop
ACES | 6b | Zarzana/Dube | 10.10.16.215 | Labview. Sending data to IWG1
H3O CIMS | 8 | Koss/Yuan | 10.10.16.216 | Labview. Sending data to IWG1
HCHO | 2 | Wolfe | 10.10.16.217 | Labview. Sending data to IWG1
CO2/CH4 | 5 | Peischl | 20.10.16.23 | Remote Desktop. Private network for Picarro inst.
CO2/CH4 labjack 1 | 5 | Peischl | 20.10.16.20 | LabJack on private ethernet
CO2/CH4 labjack 1 | 5 | Peischl | 20.10.16.21 | LabJack on private ethernet
Ethane | 5 | Peischl | 20.10.16.22 | Remote Desktop. Private network, but reserve address in case we need it.
UHSAS | 2 | Brock | 10.10.1.200 | Labview
YAS | 2 | ? | 10.10.1.201 | ?
I-CIMS | 3 |  | 10.10.1.203 | ?
H2S/CH4 | 3 |  | 10.10.1.204 | ?
PAN CIMS | 4 | Veres | 10.10.1.205 | DaqFactory, but no data sharing
acid CIMS | Dual Pass | Thornton | 10.10.1.206 | ?
10.10.16.200-230 for instruments that need xchat, internet access, iWG data, or feed data in to AAMPS system.
10.10.1.200-230 for instruments needing xchat and Internet