## Sheet1
2013 UDP/Serial feed for SENEX
| Code | Units | Range | Description | DF name
1 | ID tag | none |  | IWG1, or IWG1_NAMES
2 | Date/Time | UTC |  | Formatted date and time. i.e. 20120907T183630 | AOC_hhmmss
3 | LATref | Degree_N (dec) | -90 to 90 | Latitude | AOC_GpsLat
4 | LONref | Degree_E (dec) | -180 to 179.9999 | Longitude | AOC_GpsLon
5 | ALTref | Meters | Zero or greater | GPS Altitude, MSL | AOC_GpsAlt
6 | GPS_GeoidHt.1 | Meters | Zero or greater | WGS 84 Geoid Altitude
7 | ALTPA.d | Feet | Zero or greater | Pressure Altitude | AOC_PAlt
8 | AltRa.1 | Feet | Zero or greater | Radar Altitude | AOC_RAlt
9 | GS.d | Meters/sec |  | Ground Speed | AOC_GndSpd
10 | TAS.d | Meters/sec |  | True Airspeed | AOC_TrueAirSpd
11 | IAS.d | Meters/sec |  | Indicated Airspeed
12 | MACH.d |  |  | Mach Number
13 | GSZref | Meters/sec | [3] | Vertical Velocity
14 | THDGref | Degrees | 0 to 359.9999 | True Heading | AOC_Heading
15 | TRK.d | Degrees | 0 to 359.9999 | Track Angle
16 | DA.d | Degrees |  | Drift Angle
17 | PITCHref | Degrees | -90 to 90 [1] | Pitch Angle | AOC_Pitch
18 | ROLLref | Degrees | -90 to 90 [2] | Roll Angle | AOC_Roll
19 | SA.d | Degrees |  | Side Slip Angle | AOC_Slip
20 | AA.d | Degrees | -90 to 90 | Angle of Attack | AOC_Attack
21 | TA.d | Degrees C |  | Ambient Temperature | AOC_AmbTemp
22 | TD.c | Degrees C |  | Dew Point Temperature | AOC_DewPtTemp
23 | TTMref | Degrees C |  | Total Temperature
24 | PS.c | Millibars |  | Static Pressure | AOC_StaticPrs
25 | PQ.c | Millibars |  | Dynamic Pressure
26 | PCAB.1 | Millibars |  | Cabin Pressure | AOC_CabinPrs
27 | WS.d | Meters/sec | Zero or Greater | Wind Speed | AOC_WindSpd
28 | WD.d | Degrees | 0 to 359.9999 | Wind Direction | AOC_WindDir
29 | UWZ.d | Meters/sec | [3] | Vertical Wind Speed | AOC_VertWindSpd
30 | SolarZenith | Degrees |  | Solar Zenith Angle
31 | SunElevAc | Degrees |  | Sun Elevation from Aircraft
32 | SunAzGnd | Degrees | 0 to 359.9999 | Sun Azimuth from Ground
33 | SunAzAc | Degrees | 0 to 359.9999 | Sun Azimuth from Aircraft
34 | FLID | id string |  | i.e. 20120907H2
35 | MISSIONID | id string
36 | STORMID | id string
37 | MDSHOUR.1 |  |  | MDS Hour
38 | MDSMINUTE.1 |  |  | MDS Minute
39 | MDSSECOND.1 |  |  | MDS Seconds
40 | AccZfilterI-GPS.1 | m/s^2 | "-40 to 40" | Earth-Relative Vertical Acceleration
41 | AccZfilterI-GPS.2 | m/s^2 | "-40 to 40" | Earth-Relative Vertical Acceleration
42 | ACCZref
43 | AccZI-GPS.1 | m/s^2 | "-40 to 40" | Z ACCELERATION (GRAVITY REMOVED)
44 | AccZI-GPS.2 | m/s^2 | "-40 to 40" | Z ACCELERATION (GRAVITY REMOVED)
45 | ALTGA.d
46 | AltGPS.1 | Meters |  | GPS ALTITUDE (MSL)
47 | AltGPS.2 | Meters |  | GPS ALTITUDE (MSL)
48 | AltGPS.3
49 | AltI-GPS.1 | Meters |  | GPS ALTITUDE
50 | AltI-GPS.2 | Meters |  | GPS ALTITUDE
51 | AltRa.2 | Meters |  | RADAR ALTIMETER
52 | AltRa1.c
53 | AltRa2.c
54 | AXBT.1 | Degrees C | "-50 to 50" | AXBT Temperature
55 | AXBT.2 | Degrees C | "-50 to 50" | AXBT Temperature
56 | AXBT.3 | Degrees C | "-50 to 50" | AXBT Temperature
57 | COURSEcorr.d
58 | DV.d
59 | GPS_AltErr.1
60 | GPS_Quality.1
61 | GSXref
62 | GSYref
63 | HT.d
64 | HUM_ABS.d
65 | HUM_REL.d | percent |  | Relative Humidity | AOC_RelHumidity
66 | IASkt.d
67 | LicHum_Abs.1
68 | LicCO2D.1
69 | LicTDM.1
70 | LicTTMi.1
71 | LicTTMo.1
72 | LicPT.1
73 | LatGPS.1 | Degrees | "-90 to 90" | LATITUDE GPS
74 | LatGPS.2 | Degrees | "-90 to 90" | LATITUDE GPS
75 | LatGPS.3
76 | LatI-GPS.1 | Degrees | "-90 to 90" | LATITUDE
77 | LatI-GPS.2 | Degrees | "-90 to 90" | LATITUDE
78 | LonGPS.1 | Degrees | "-90 to 90" | LONGITUDE GPS
79 | LonGPS.2 | Degrees | "-90 to 90" | LONGITUDE GPS
80 | LonGPS.3 | Degrees | "-90 to 90" | LONGITUDE GPS
81 | LonI-GPS.1 | Degrees | "-90 to 90" | LONGITUDE GPS
82 | LonI-GPS.2 | Degrees | "-90 to 90" | LONGITUDE GPS
83 | LWC.1 |  |  | Liquid Water Content???
84 | MR.d | g/kg |  | H2O Mixing ratio (Calculated from dew point) | AOC_H2Omr
85 | PDALPHA.1 | Millibars | "-100 to 100" | Differential Pressure
86 | PDALPHA.2 | Millibars | "-100 to 100" | Differential Pressure
87 | PDBETA.1 | Millibars | "-100 to 100" | Differential Pressure
88 | PDBETA.2 | Millibars | "-100 to 100" | Differential Pressure
89 | PitchI.1 | Degrees | "-90 to 90" | Pitch Angle
90 | PitchI.2 | Degrees | "-90 to 90" | Pitch Angle
91 | PitchI-GPS.1 | Degrees | "-90 to 90" | Pitch Angle
92 | PitchI-GPS.2 | Degrees | "-90 to 90" | Pitch Angle
93 | PitchI-GPS.3 | Degrees | "-90 to 90" | Pitch Angle (blended)
94 | PitchI-GPS.4 | Degrees | "-90 to 90" | Pitch Angle (blended)
95 | PitchRate.1
96 | PQALPHA.1 | Millibars | "-350 to 350" | Dynamic Attack Pressure
97 | PQBETA.1 | Millibars | "-350 to 350" | Dynamic Slip Pressure
98 | PQM.2 | Millibars | "-10 to 399" | Dynamic Pressure
99 | PQM.3 | Millibars | "-10 to 399" | Dynamic Pressure
100 | PQM.4 | Millibars | "-10 to 399" | Dynamic Pressure
101 | PQM.1 | Millibars | "-10 to 399" | Dynamic Pressure
102 | PSM.2 | Millibars | "-10 to 1100" | Static Pressure
103 | PSM.1 | Millibars | "-10 to 1100" | Static Pressure
104 | PSURF.d
105 | PTM.1 | Millibars | "-10 to 1100" | Radome Absolute Pressure
106 | RollI.1 | Degrees | "-180 to 180" | ROLL ANGLE
107 | RollI.2 | Degrees | "-180 to 180" | ROLL ANGLE
108 | RollI-GPS.1 | Degrees | "-90 to 90" | ROLL ANGLE
109 | RollI-GPS.2 | Degrees | "-90 to 90" | ROLL ANGLE
110 | RollI-GPS.3 | Degrees | "-90 to 90" | ROLL ANGLE (blended)
111 | RollI-GPS.4 | Degrees | "-90 to 90" | ROLL ANGLE (blended)
112 | SfmrRainRate.R
113 | SfmrWS.R
114 | SST.1
115 | TASkt.d
116 | TDM.1 | Degrees C | "-100 to 100" | Dew Point Temperature
117 | TDM.2 | Degrees C | "-100 to 100" | Dew Point Temperature
118 | TDM.3 | Degrees C | "-100 to 100" | TDL Dew Point Temperature | AOC_DewPtTempTDL
119 | THdgI-GPS.1 | Degrees | "0 to 360" | TRUE HEADING
120 | THdgI-GPS.2 | Degrees | "0 to 360" | TRUE HEADING
121 | THdgI-GPS.3 | Degrees | "0 to 360" | TRUE HEADING (blended)
122 | THdgI-GPS.4 | Degrees | "0 to 360" | TRUE HEADING (blended)
123 | THETA.d | Kelvin |  | Potential Temperature | AOC_PotTemp
124 | THETAE.d | Kelvin |  | Equivalent Potential Temperature
125 | TRadD.1 | Degrees C | "-100 to 40" | Radiometer Down
126 | TRadS.1 | Degrees C | "-100 to 40" | Radiometer Side
127 | TRadU.1
128 | TRKdesired.d
129 | TTM.1 | Degrees C | "-100 to 100" | Total Temperature
130 | TTM.2 | Degrees C | "-100 to 100" | Total Temperature
131 | TTM.3 | Degrees C | "-100 to 100" | Total Temperature
132 | TVIRT.d
133 | CARDS_time | HHMMSS |  | CARDS time | AOC_CARDS_Time
134 | NO3 |  |  | CARDS data | AOC_CARDS_NO3
135 | N2O5 |  |  | CARDS data | AOC_CARDS_N2O5
136 | NO2_1 |  |  | CARDS data | AOC_CARDS_NO2_1
137 | Ox |  |  | CARDS data | AOC_CARDS_Ox
138 | NO2_2 |  |  | CARDS data | AOC_CARDS_NO2_2
139 | NOx |  |  | CARDS data | AOC_CARDS_NOx
140 | AMS_time | HHMMSS |  | AMS time | AOC_AMS_Time
141 | MS_AB |  |  | AMS diagnostic data | AOC_AMS_MS_AB
142 | Flow |  |  | AMS diagnostic data | AOC_AMS_Flow
143 | Org_Tot |  |  | AMS diagnostic data | AOC_AMS_Org_Tot
Parameters starting with 133 are from CARDS that we requested to be added into the data stream; 140-143 from the AMS instrument
The first 33 parameters are the standard IWG1 data stream. Twice a minute, the names of the parameters are broadcast (IWG1_NAMES)
All parameters are comma delimited, and the line of data is terminated with CRLF.
Flight Scientist laptop will access this via the serial stream; others via the network with UDP.
Serial Settings:
baud rate: 9600
data length: 8
stop bits: 1
parity: none
Shaded rows are the ones we are using for SENEX.
Sample of each type of line of data:
IWG1_NAMES,TIME,LATref,LONref,ALTref,GPS_GeoidHt.1,ALTPA.d,AltRa.1,GS.d,TAS.d,IAS.d,MACH.d,GSZref,THDGref,TRK.d,DA.d,PITCHref,ROLLref,SA.d,AA.d,TA.d,TD.c,TTMref,PS.c,PQ.c,PCAB.1,WS.d,WD.d,UWZ.d,SolarZenith,SunElevAc,SunAzGnd,SunAzAc,FLID,MDSHOUR.1,MDSMINUTE.1,MDSSECOND.1,AccZfilterI-GPS.1,AccZfilterI-GPS.2,ACCZref,AccZI-GPS.1,AccZI-GPS.2,ALTGA.d,AltGPS.1,AltGPS.2,AltGPS.3,AltI-GPS.1,AltI-GPS.2,AltRa.2,AltRa1.c,AltRa2.c,AXBT.1,AXBT.2,AXBT.3,COURSEcorr.d,DV.d,GPS_AltErr.1,GPS_Quality.1,GSXref,GSYref,HT.d,HUM_ABS.d,HUM_REL.d,IASkt.d,LicHum_Abs.1,LicCO2D.1,LicTDM.1,LicTTMi.1,LicTTMo.1,LicPT.1,LatGPS.1,LatGPS.2,LatGPS.3,LatI-GPS.1,LatI-GPS.2,LonGPS.1,LonGPS.2,LonGPS.3,LonI-GPS.1,LonI-GPS.2,LWC.1,MR.d,PDALPHA.1,PDALPHA.2,PDBETA.1,PDBETA.2,PitchI.1,PitchI.2,PitchI-GPS.1,PitchI-GPS.2,PitchI-GPS.3,PitchI-GPS.4,PitchRate.1,PQALPHA.1,PQBETA.1,PQM.2,PQM.3,PQM.4,PQM.1,PSM.2,PSM.1,PSURF.d,PTM.1,RollI.1,RollI.2,RollI-GPS.1,RollI-GPS.2,RollI-GPS.3,RollI-GPS.4,SfmrRainRate.R,SfmrWS.R,SST.1,TASkt.d,TDM.1,TDM.2,TDM.3,THdgI-GPS.1,THdgI-GPS.2,THdgI-GPS.3,THdgI-GPS.4,THETA.d,THETAE.d,TRadD.1,TRadS.1,TRadU.1,TRKdesired.d,TTM.1,TTM.2,TTM.3,TVIRT.d
IWG1,20120907T183800,26.0789,-80.1546,12.2,-27.9,,,0.0,,1.28,,0.00,126.6779,90.0000,-36.68,-0.03,-0.54,36.00,-5.35,,-64.43,-0.34,-3.55,0.01,499.2,,,,,,,,20120907H2,18.0,38.0,1.935,0.01,-0.01,0.01,0.01,-0.01,12.18,4.88,12.19,7.93,12.19,-1.22,,,,-0.08,-0.00,-0.03,,,0.23,2.00,0.00,0.00,,,,2.49,,,,,,,26.08,26.08,26.08,26.08,26.08,-80.15,-80.15,-80.15,-80.15,-80.15,,-1.84,-0.1,-0.2,-0.6,0.1,-0.03,-0.03,-0.03,-0.03,-0.03,-0.03,,0.06,-0.12,-0.47,-1.65,-0.25,-0.23,-3.72,252.59,,5.64,-0.54,-0.53,-0.54,-0.53,-0.54,-0.53,,,-1.0,,-75.02,-60.18,-25.07,126.68,126.67,126.68,126.67,,,-20.77,-28.36,,,-0.44,-0.34,,
Parameters in bold in DF name column are included in live datadownload stream (repeated below):
AOC_hhmmss, AOC_GPSlat, AOC_GPSlon, AOC_GPSalt, AOC_AmbTemp, AOC_DewPtTemp, AOC_H2Omr, AOC_WindDir, AOC_WindSpd,
AOC_CARDS_NO3, AOC_CARDS_N2O5, AOC_CARDS_NO2_1, AOC_CARDS_Ox, AOC_CARDS_NO2_2, AOC_CARDS_NOx,
AOC_AMS_MS_AB, AOC_AMS_Flow, AOC_AMS_Org_Tot,
CO, CO2, CH4, NO, NOy, O3, NMASS, SO2 (these parameters are obtained from DaqFactory sharing, not through the UDP/serial stream).